## Worksheet
Company | Acres | GPM/ac | Name | Source | Water District | Power Source Meter | Pump Test Date (PT) | PT Time Ago | Flow (GPM) | Efficiency (%) | Water Test Date (WT) | WT Time ago | pH | EC | TDS | N mg/L | Active
Deer Valley | 1149.75 | 1.37 | DV-1 | Well |  | 78985698 | 2021-12-30 | 2 years ago | 1578 | 66 | 2023-11-29 | 5 months ago | 33 | 33 | 33 | 10 | Yes
Deer Valley | 1149.75 | 1.65 | DV-2 | Well |  |  | 2019-03-01 | 5 years ago | 1899 | 56 | [6 empty] | Yes
Deer Valley | 1149.75 | 1.3 | Lagoon | Wastewater |  |  | 2021-08-03 | 2 years ago | 1500 | 55 | 2021-08-31 | 2 years ago | 6.5 | 5.88 | 4048 | 45 | Yes
East Ranch | 335 | 6.4 | ER-1 | Well |  |  | 2019-03-01 | 5 years ago | 2145 | 45 | [6 empty] | Yes
East Ranch | 335 | 6.64 | ER-1 | Well |  |  | 2021-08-01 | 2 years ago | 2223 | 66 | [6 empty] | Yes
East Ranch | 335 | 7.65 | ER-2 | Well |  |  | 2019-03-01 | 5 years ago | 2563 | 44 | [6 empty] | Yes
Frontier Ranch | 216.37 | 5.55 | FR01 | Well |  | 33245543 | 2023-04-13 | 1 year ago | 1200 | 44 | [6 empty] | Yes
Root Land | 1483.29 |  | RL34 | Turnout | Rootland District | [11 empty] | Yes
Valley Orchard | 1001.3 | 1.87 | VO-1 | Well |  |  | 2020-03-18 | 4 years ago | 1875 | 66 | [6 empty] | Yes
Valley Orchard | 1001.3 | 2.54 | VO-2 | Well |  |  | 2018-03-08 | 6 years ago | 2541 | 67 | [6 empty] | Yes
Valley Orchard | 1001.3 | 0.21 | VO-3 | Well |  | 452445433 | 2023-01-05 | 1 year ago | 210 | 66 | [6 empty] | Yes